## Subsurface Risk Matrix
Risk Scenario | Flow Rate (L/s) | Avg Demand (MW) | Reliability | Months Tank is Empty | LCOE (€/MWh)
1. Nominal Base Case | 70 | 15 | 100.0% | 46 | €28.91
2. Subsurface Flow Degradation | 55 | 15 | 98.1% | 120 | €28.66
3. Community Demand Growth | 70 | 18 | 98.4% | 105 | €25.34
4. Severe Stressed Combo | 55 | 18 | 90.1% | 157 | €26.52

## Executive Techno-Economic
Project Life Phase | Core Technical Output | Grid Feasibility Status
Stage 1 & 2: Subsurface & Surface Design | Rotliegend Doublet Selection (BLT-01 Asset Focal Point) | PASS
Stage 4 & 5: Nominal Twin Metrics | 100% Reliable Delivery @ 17.85 MWth Design Loop | PASS
Stage 6: Risk Stressed Buffer | Buffer Vulnerability Isolated (46-157 Outage Months Identified) | VULNERABLE
Stage 6: Optimized Peak-Shaving Loop | Zero Tank Outages achieved via Priority Heat-Pump Dispatch | STABLE / OPTIMIZED
Stage 7: Levelized Asset Economics | Highly competitive Levelized Base Cost of €28.91 / MWh | PASS